Day Care Centre Regulations, 1999

Fire Safety Check List

| Item 1. Mean of Escape Check all exit doors to ensure the locks are exit free and working. Check all exit ways and/ or stairways to ensure they are not obstructed. 2. Emergency Lighting Check all emergency lighting units to ensure they are illuminated. Test all emergency lighting unit batteries. 3. Electrical Installation Check all electrical receptacles to ensure they are fitted with approve inserts or protected covers. Inspect all electrical appliances, wiring, cords for any damages. Check to ensure there are no electrical cords under rugs, mats, furnishing or through doorways. 4. Fire Alarm System and Smoke Alarm Units All electrical fire detection and alarm systems must be checked to ensure the AC power and trouble lamps are working. Inspect battery or hardwired smoke alarms. Have fire alarm system tested by a qualified electrical engineer. 5. Portable Fire Extinguishers Ensure that all portable fire extinguishers are checked i.e. pressure gauges etc. Inspect all portable fire extinguishers and record dates of inspections. | Frequency Daily Daily Daily Monthly Daily Monthly Daily Daily Weekly Annually Monthly Annually | Staff Member Responsible _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ |
| --- | --- | --- |

Definitions For Key Words Are As Follows:-

CHECK                   Means visual observation to ensure the devices or system is in place and is

not obviously damaged or obstructed.

INSPECT                Means physical examination to determine that the device or system will

apparently perform in accordance with its intended operation of function.

TEST                      Means operating a device or system to ensure that it will perform in

accordance with its intended operation or function.

It should be noted that any item listed above which does not pertain to your Day Care Centre should be omitted from your checklist.

I:\Day Care\Day Care\Fire Safety Check List.doc